## 9.3
Table 9.3 Major Transmission Lines, 2016
Line | 400 kV | 220 kV |  | 132 kV | 66kV |  |  |  | Remarks
| D/C | S/C | D/C | S/C | S/C | D/C | Q/C | UG
Tala - Khogla | 24.615
Tala - Malbase - Pugli | 49.528
CHP-Gedu-Indian border |  |  | 35.78
CHP-Gedu-Malbase |  | 29.841
CHP-Semtokha |  | 54.01
Semtokha-Rurichhu |  | 44.9
Malbase-Border (Birpara) |  | 4.075
Malbase Singhigaon(Fdr 2) |  | 2.607
Malbase Multi circuit | [6 empty] | 3.405
Malbase-Samtse-Singhigaon |  |  | 41.642 | [5 empty] | Capitalized in 2014
Samtse-Sibso | [5 empty] | 26.958 |  |  | Capitalized in 2014
Samtse-Gomtu | [5 empty] | 14.851 |  |  | Capitalized in 2014
Chhukha-Gedu |  |  |  |  | 20.4
Gedu-Phuentsholing |  |  |  |  | 16.7
Phuentsholing-Malbase |  |  |  |  | 8.9
Phuentsholing-Gomtu |  |  |  |  | 26.9
Kurichhu-Kilikhar |  |  |  | 10.06
Kilikhar-Kanglung |  |  |  | 29.705 |  |  |  |  | Realigned at Kilikhar in 2012
Kilikhar-Tangmachhu (Lhuntse) |  |  |  | 42.8 |  |  |  |  | Charged at 33 kV
Kurichhu-nangkor |  |  |  | 31.078 |  |  |  |  | Relocated KP20 & KP21 in 2013
Nangkor-Deothang |  |  |  | 23.3
Deothang-Motanga |  |  |  | 10.5
Motanga - India (border) |  |  |  | 1.5
Nangkor-Nganglam |  |  |  | 33.793 |  |  |  |  | Realigned at Denchi in 2012
Nganglam-Tingtibi |  |  |  | 83.33
Gelephu-Pelrithang (Lodrai) |  |  |  | 10.784
Pelrithang (Lodrai) - Tingtibi |  |  |  | 34.956
Gelephu-Indian Border |  |  |  | 0.1
Tingtibi - Yurmoo |  |  |  | 32.628 |  |  |  |  | Charged at 33 kV
Yurmoo - Bumthang |  |  |  |  | 34.856 |  |  |  | Charged at 33 kV
Yurmoo - Trongsa |  |  |  |  | 20.94 |  |  |  | Charged at 33 kV
Chhukha-Chumdo |  |  |  |  | 36.98
Chumdo-Khasadrapchu |  |  |  |  | 4.78
Khasadrapchu-Olakha |  |  |  |  | 11.74 |  |  | 1 | UG Cable at IT Park 2013
Chumdo-Paro |  |  |  |  | 24.01
Chumdo-Haa |  |  |  |  | 33.4
Tie-line watsa |  |  |  |  | 0.5
Semtokha-Olakha |  |  |  |  | 1.7
Khasadrapchu - Jemina | [5 empty] | 5.96
Semtokha - Lobeysa |  |  |  |  | 24.43 |  |  |  | Realigned at Dochula in 2011
Hebesa-Rurichhu |  |  |  |  | 3.08
Lobeysa-Rurichhu |  |  |  |  | 20.3
Semtokha-Dechencholing |  |  |  |  | 11.45
Rurichhu - Tsirang |  | 46.6
Tsirang-Jigmeling |  |  | 30.565
Tsirang-Dagachu Port head yard |  |  | 20.202
Jigmeling-Pelrithang(Lodrai) |  |  | 10.42 | [5 empty] | Charged at 132 kV
Tshendengang-Dagapela (LILO) |  |  | 4.396
Pasakha Industrial Area | [7 empty] | 5.018 | UG Cable at Pasakha IA
Total | 74.143 | 182.033 | 143.005 | 344.534 | 301.066 | 47.769 | 3.405 | 6.018
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.