## Tab8.1
TABLE 8.1
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, FY 2007/08 & 2008/09
Generating stations (Dzongkhag) | 2005/06 |  |  |  | 2007/08 |  |  |  | 2008/09
| Installed capacity | Generating capacity | Peak generation | Energy generation | Installed capacity | Generating capacity | Peak generation | Energy generation | Installed capacity | Generating capacity | Peak generation | Energy generation
| (No. x MW) | ( MW ) | (MW) | (MU) | (No. x MW) | ( MW ) | (MW) | (MU) | (No. x MW) | ( MW ) | (MW) | (MU)
Hydro stations (a)
Chukha | 4 x 84.000 | 336 | 360 | 1931.907 | 4 x 84.000 | 360 | 360 | 1774.374 | 4 x 84.000 | 360 | 360 | 1767.703
Chumey (Bumthang) | 3 x 0.500 | 1.08 | 1.3 | 3.678 | 3 x 0.500 | 1.08 | 1.32 | 3.945 | 3 x 0.500 | 1.08 | 1.36 | 4.32
Gidakom (Thimphu) | 5 x 0.250 | 0.816 | 0.85 | 5.521 | 5 x 0.250 | 0.816 | 0.89 | 5.645 | 5 x 0.250 | 0.816 | 0.965 | 5.334
Jushina (Thimphu) | 4 x 0.090 | 0.36 | 0.26 | 1.102 | 4 x 0.090 | 0.27 | 0.24 | 1.238 | 4 x 0.090 | 0.27 | 0.246 | 1.435
Kurichu (Mongar) | 4 x 15.000 | 60 | 60 | 365.623 | 4 x 15.000 | 60 | 60 | 379.108 | 4 x 15.000 | 60 | 80 | 375.915
Basochu..I (W/phodrang) | 2 x 12.000 | 24 | 24 | 117.826 | 2 x 12.000 | 24 | 24 | 115.589 | 2 x 12.000 | 24 | 24 | 115.715
Basochu..II (W/phodrang) | 2 x 20.000 | 40 | 41.4 | 213.838 | 2 x 20.000 | 40 | 40 | 210.566 | 2 x 20.000 | 40 | 40 | 206.292
THPA (Chukha) | - | - | - | - | 6 x 170.000 | 1020 | 1122 | 4056.129 | 6 x 170.000 | 1020 | 1122 | 4473.072
Rangjung (Tashigang) | 2 x 1.100 | 2.2 | 1.2 | 1.227 | 2 x 1.100 | 2.2 | 2.14 | 8.213 | 2 x 1.100 | 2.2 | 1.02 | 5.917
Chenari (Tashigang) | 3 x 0.250 | 0 | 0 | 0 | 3 x 0.250 | 0.5 | 0 | 0 | 3 x 0.250 | 0.5 | 0 | 0
Khaling (Tashigang) | 3 x 0.000 | 0 | 0 | 0 | 3 x 0.000 | Decommissioned due to flood |  |  | 3 x 0.000 | Decommissioned due to flood
Khalanzi (Mongar) | 3 x 0.130 | 0.26 | 0.228 | 0.483 | 3 x 0.130 | 0.26 | 0.21 | 0.434 | 3 x 0.130 | 0.26 | 0.262 | 0.445
Wangdue | 3 x 0.100 | 0.34 | 0.118 | 0.542 | 3 x 0.100 | 0.2 | 0.09 | 0.517 | 3 x 0.100 | 0.2 | 0.09 | 0.492
Micro hydels
Lhuentse (Lhuentse) | 2 x 0.060 | 0.12 | - | 0.14875 | 2 x 0.060 | 0.08 | 0.05 | 0.084 | 2 x 0.060 | 0.08 | 0.05 | 0.114
Rukubji (W/phodrang) | 1 x 0.040 | 0.04 | - | 0.05883 | 1 x 0.040 | 0.04 | 0.03 | 0.068 | 1 x 0.040 | 0.04 | 0.022 | 0.043
Tangsibi (Trongsa) | 1 x 0.030 | 0.03 | - | 0.033859 | 1 x 0.030 | 0.03 | 0.02 | 0.039 | 1 x 0.030 | 0.03 | 0.018 | 0.046
Trongsa (Trongsa) | 1 x 0.050 | 0.05 | - | 0.10754 | 1 x 0.050 | 0.05 | 0.04 | 0.128 | 1 x 0.050 | 0.05 | 0.04 | 0.096
Bubja (Trongsa) | 1 x 0.030 | 0.03 | - | 0.10969 | 1 x 0.030 | 0.03 | 0.03 | 0.139 | 1 x 0.030 | 0.03 | 0.028 | 0.145
Tamshing (Bjakar) | 1 x 0.030 | 0.03 | - | 0.074164 | 1 x 0.030 | 0.03 | - | 0.075 | 1 x 0.030 | 0.03 | - | 0.085
Ura (Bjakar) | 1 x 0.050 | 0.05 | - | 0.17481 | 1 x 0.050 | 0.05 | - | 0.181 | 1 x 0.050 | 0.05 | - | 0.149
Yadi (Mongar) | 1 x 0.030 | 0.03 | - | 0 | 1 x 0.000 | Decommissioned due to grid supply |  |  | 1 x 0.000 | Decommissioned due to grid supply
Kekhar (Zhemgang) | 1 x 0.020 | 0.02 | - |  | 1 x 0.020 | 0.02 | - | 0.025 | 1 x 0.020 | 0.02 | - | 0.026
Surey (Sarpang) | 1 x 0.070 | 0.07 | - | 0.09805 | 1 x 0.070 | 0.07 | - | 0.01 | 1 x 0.000 | Dicommissioned |  | -
Damphu (Tsirang) | 2 x 0.100 | 0.2 | 0.14 | 0.88869 | 2 x 0.100 | 0.2 | 0.15 | 0.918 | 2 x 0.100 | 0.2 | 0.119 | 0.744
Tingtibi (Zhemgang) | 2 x 0.100 | 0.2 | 0.12 | 0.20134 | 2 x 0.100 | 0.2 | 0.12 | 0.118 | 2 x 0.100 | 0.2 | 0.12 | 0.118
Dagana ( Dagana) | 2 x 0.100 | 0.2 | 0.15 | 0.70615 | 2 x 0.100 | 0.2 | 0.16 | 0.828 | 2 x 0.100 | 0.2 | 0.15 | 0.857
Lingzhi (Thimphu) | 1 x 0.008 | 0.008 | - | - | 1 x 0.008 | 0.008 | - | - | 1 x 0.008 | 0.008 | - | -
Rongchu (Lhuentse) | 2 x 0.100 | 0.2 | 0.23 | 1.1249 | 2 x 0.100 | 0.2 | 0.18 | 1.197 | 2 x 0.100 | 0.2 | 0.21 | 0.634
Chendebji | 1 x 0.070 | 0.07 | 0.071 | 0.37442 | 1 x 0.070 | 0.07 | - | 0.495 | 1 x 0.070 | 0.07 | - | 0.572
Sengor (Mongar) | 1 x 0.100 | - | - | - | 1 x 0.100 | 0.1 | - | 0.318 | 1 x 0.100 | 0.1 | 0.03 | 0.206
contd...

## tab. 8.1 contd
TABLE 8.1(contd.)
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, FY 2007/08 & 2008/09
Generating stations (Dzongkhag) | 2005/06 |  |  |  | 2007/08 |  |  |  | 2008/09
| No of Machines | Generating capacity | Peak generation | Energy generation | No of Machines | Generating capacity | Peak generation | Energy generation | No of Machines | Generating capacity | Peak generation | Energy generation
|  | ( MW ) | (MW) | (MU) |  | ( MW ) | (MW) | (MU) |  | ( MW ) | (MW) | (MU)
Diesel generation stations
Thimphu | 7 | - | - | 0.005 | 7 | - | - | 0.003 | 7 | - | - | 0.01
Paro | 1 | - | - | 0 | 1 | - | - | 0 | 1 | - | - | 0
Phuentsholing | 3 | 0 | - | 0.346 | 3 | 0 | - | 0.286 | 3 | 0 | - | 0.016
Damphu | 3 | - | - | 0.075 | 3 | - | - | 0.099 | 3 | - | - | 0.039
Trongsa | 2 | - | - | 0.189 | 2 | - | - | 0.237 | 2 | - | - | 0.021
Gelephu | 2 | 0.692 | - | 0.003 | 2 | 0.692 | - |  | 2 | 0.692 | - | -
Sarpang | 2 | 0.505 | - | 0.003 | 2 | 0.505 | - | 0.001 | 2 | 0.505 | - | 0
Kalikhola | 2 | 0 | - | 0.346 | 2 | 0 | - | - | 2 | 0 | - | -
Zhemgang | 3 | - | - | 0.003 | 3 | - | - | 0.003 | 3 | - | - | 0.02
Dagana | 2 | - | - | 0.004 | 2 | - | - | 0.006 | 2 | - | - | 0.006
Tashigang | 4 | - | - | 0 | 4 | - | - | 0 | 4 | - | - | 0
Bjakar | 4 | 0.806 | - | 0.854 | 4 | 0.806 | - | 1.172 | 4 | 0.806 | - | 0.053
Mongar | 1 | - | - | 0.007 | 1 | - | - | 0.001 | 1 | - | - | 0
Samdrup Jongkhar | 2 | - | - | 0.01 | 2 | - | - | 0 | 2 | - | - | 0
Trashiyangtse | 1 | - | - | 0.025 | 1 | - | - | 0.006 | 1 | - | - | 0.001
Pemagatshel | 1 | - | - | 0.003 | 1 | - | - | 0.002 | 1 | - | - | 0.004
Samtse | 1 | - | - | 0 | 1 | - | - | 0 | 1 | - | - | 0
Other diesel stations
Penden Cement Authority Ltd. | 4 | 3.6 | - | 0 | 2 | 1.8 | - | 0.002 | 2 | 1.8 | - | 0.096
Bhutan Board Products Ltd. | 2 | 0.458 | - |  | 2 | 0.45828 | - | - | 2 | 0.458 | - | -
Chukha Hydro Power Corp. | 5 | 1.949 | - |  | 4 | 1.25 | - | - | 4 | 1.25 | - | -
Bhutan Carbide & Chemical Ltd. | 2 | 0.225 | - | 0.003 | 3 | 0.338 | - | 0.005 | 3 | 0.338 | - | 0.005
Bhutan Ferro Alloys Ltd. | 1 | 0.288 | - | 0.146 | 2 | 0.684 | - | 0.148 | 2 | 0.684 | - | 0.067
Kurichu Project Authority | 2 | 0.563 | - | 0.028 | 3 | 1.276 | - | - | 3 | 1.276 | - | 0.005
Basochu Project Authority | 1 | 0.09 | - | 0 | 1 | 0.117 | - | 0 | 1 | 0.117 | - | 0
Tala Hydroelectric Project Authority |  | - | - | - | 1 | 2.25 | - | - | 1 | 2.25 | - | -
S.D.Eastern Bhutan Ferro Silicon Pvt.Ltd. |  | - | - | - | 2 | 0.225 | - | 0.002 | 2 | 0.225 | - | 0.01
Source:Department of Energy, MoEA, Thimphu

## Tab8.2
TABLE 8.2
TOTAL ELECTRICITY GENERATION AND SUPPLY, BHUTAN, 2004/05 TO 2008/09
Details | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09
Installed capacity (MW) | 477.82 | 477.26 | 1497.36 | 1497.359 | 1497.29
Chukha hydro power | 336 | 336 | 336 | 336 | 336
Kurichu hydro power | 60 | 60 | 60 | 60 | 60
Basochu - I hydro power | 24 | 24 | 24 | 24 | 24
Basochu - II hydro power | 40 | 40 | 40 | 40 | 40
THPA | - | - | 1020 | 1020 | 1020
Other hydro power | 8.63 | 8.07 | 8.17 | 8.168 | 8.1
All diesel generators | 9.19 | 9.19 | 9.19 | 9.191 | 9.19
Electricity generation (MU) | 2354.7 | 2647.72 | 4520.25 | 6564.195 | 6960.64
Chukha hydro power | 1764.34 | 1931.91 | 1830.42 | 1774.374 | 1767.7
Kurichu hydro power | 340.43 | 365.62 | 374.45 | 379.108 | 375.92
Basochu - I hydro power | 116.31 | 117.83 | 110.73 | 115.589 | 115.72
Basochu - II hydro power | 114.68 | 213.84 | 203.52 | 210.566 | 206.29
THPA |  |  | 1979.62 | 4056.129 | 4473.07
Other hydro power | 17.39 | 16.65 | 19.83 | 26.614 | 21.78
All diesel generators | 1.55 | 1.87 | 1.68 | 1.815 | 0.17
Exports (MU) | 1623.66 | 1943.43 | 3643.71 | 5429.123 | 5609.37
Imports (MU) | 21.04 | 34.35 | 11.06 | 7.254 | 16.72
Total energy requirement (MU) | 752.34 | 738.3 | 887.76 | 1140.485 | 1368.17
Total energy sales (MU) | 622.16 | 620.89 | 766.72 | 989.798 | 1202.71
Energy losses (MU) | 130.18 | 117.41 | 121.05 | 150.687 | 165.47
Percentage losses (%) | 17 | 16 | 14 | 13 | 12
Peak system demand (MW) | 120 | 128 | 157 | 194 | 211
Length of HT lines (33/11 KV)
Overhead lines (km) | 1895.54 | 2084.34 | 2404.32 | 2399.983 | 73671.81
Underground lines (km) | 40.4 | 43.03 | 49.76 | 57.533 | 60.79
Length of LT lines
Overhead lines (km) | 2134.24 | 2272.49 | 3080.5 | 3273.966 | 3570.93
Underground lines (km) | 70.37 | 229.44 | 194.62 | 165.769 | 173.3
Source:Department of Energy, MoEA, Thimphu

## Tab8.3
TABLE 8.3
MAJOR TRANSMISSION LINES FOR EVACUATING HYDRO POWER FROM CHHUKHA POWER PLANT, 2008 & 2009
| 2006 |  |  | 2007 | 2008 |  |  |  | 2009
Stations | 220 KV | 132 KV | 66 KV | 400kv | 400kv | 220 KV | 132 KV | 66 KV | 400kv | 220 KV | 132 KV | 66 KV
| line(Km) | line(Km) | line (Km) | Line (Km) | Line (Km) | line(Km) | line(Km) | line (Km) | Line (Km) | line(Km) | line(Km) | line (Km)
Tala- Khogla | - | - | - | 24.615 (D/C) | 24.615 (D/C) |  |  |  | 24.615 (D/C)
Tala- Malbasse - Pugli | - | - | - | 49.528 (D/C) | 49.528 (D/C) |  |  |  | 49.528 (D/C)
-
Chukha - Birpara | 71.28 | - | - | - | - | 71.28 | - | - | - | 71.28 | - | -
Chukha - Singhigoan | 33.32 | - | - | - | - | 33.32 | - | - | - | 33.32 | - | -
Chukha - Simtokha | 54.367 | - | - | - | - | 54.367 | - | - | - | 54.367 | - | -
Indian Border - Singhigaon | 2.5 | - | - | - | - | 2.5 | - | - | - | 2.5 | - | -
Rurichu - Simtokha | 36.43 | - | - | - | - | 36.43 | - | - | - | 36.43 | - | -
Rurichu - Tsirang |  |  |  |  | - | - | - | - | - | 47.541 | - | -
Gelephug - Indian border | - | 0.3 | - | - | - | - | 0.3 | - | - | - | 0.3 | -
Gyleposhing - kilikhar | - | 10.214 | - | - | - | - | 10.214 | - | - | - | 10.214 | -
Kilikhar - Kanglung | - | 29.807 | - | - | - | - | 29.807 | - | - | - | 29.807 | -
Kilikhar - Lhuentse | - | 43.1 | - | - | - | - | 43.1 | - | - | - | 43.1 | -
Nangkor - Deothang | - | 23.668 | - | - | - | - | 23.668 | - | - | - | 23.668 | -
Gyleposhing - Nangkor | - | 33.7 | - | - | - | - | 33.7 | - | - | - | 33.7 | -
Nangkor - Nganglam | - | 34.3 | - | - | - | - | 34.3 | - | - | - | 34.3 | -
Nganglam - Tingtibi | - | 83.2 | - | - | - | - | 83.2 | - | - | - | 83.2 | -
Tingtibi - Gelephug | - | 46 | - | - | - | - | 46 | - | - | - | 46 | -
Deothang - Mothanga |  |  |  |  | - | - | - | - | - | - | 42.855 | -
Mothanga - Indian Border |  |  |  |  | - | - | - | - | - | - | 10.6 | -
Tingtibi - Yurmoo |  |  |  |  | - | - | - | - | - | - | 32.628 | -
Chukha - Gedu | - | - | 20.1 | - | - | - | - | 20.1 | - | - | - | 20.1
Gedu - Phuntsholing | - | - | 17.7 | - | - | - | - | 17.7 | - | - | - | 17.7
Chukha - Confluence | - | - | 36.7 | - | - | - | - | 36.7 | - | - | - | 36.7
Confluence - Simtokha | - | - | 18.3 | - | - | - | - | 18.3 | - | - | - | 18.3
Confluence - Haa | - | - | 33.522 | - | - | - | - | 33.522 | - | - | - | 33.522
Simtokha - Dechenchholing | - | - | 11.9 | - |  |  |  | 11.9 |  |  | - | 11.9
Confluence - Paro | - | - | 24.022 | - | - | - | - | 24.022 | - | - | - | 24.022
Simtokha - W/phodrang | - | - | 26.023 | - | - | - | - | 26.023 | - | - | - | 26.023
Lobeysa - Basochhu | - | - | 23.023 | - | - | - | - | 23.023 | - | - | - | 23.023
Phuntsholing - Gomtu | - | - | 27.002 | - | - | - | - | 27.002 | - | - | - | 27.002
Phuntsholing - Singhigoan | - | - | 8.38 | - | - | - | - | 8.38 | - | - | - | 8.38
Phuntsholing - Birpara | - | - | Redundant | - | - | - | - | Redundant | - | - | - | Redundant
Khasadrapchu - Jemina | - | - | 5.96 | - | - | - | - | 5.96 | - | - | - | 5.96
Hebisa - Rurichu | - | - | 3.08 | - | - | - | - | 3.08 | - | - | - | 3.08
Tie- Line-Watsa | - | - | 0.5 | - | - | - | - | 0.5 | - | - | - | 0.5
Total | 71.28 (D/C) : :126.617 (S/C) | 304.289 | 256.212 | 74.143 (D/C) | 74.143 (D/C) | 71.28(D/C)::126.617(S/C) | 304.289 | 256.212 | 74.143 (D/C) | 71.28(D/C)::126.617(S/C) | 390.372 | 256.212
Note:
D/C stands for double circuit and S/C for single circuit
Source:Department of Energy, MoEA, Thimphu

## 8.4&8.5
TABLE 8.4
DETAILS OF DOMESTIC ELECTRICAL ENERGY CONSUMPTION, 2004/05 TO 2008/09
Details | 2005/06 | 2006/07 | 2007/08 | 2008/09
Towns electrified (numbers) | 68 | 71 | 71 | 71
Villages electrified (numbers) | 1318 | 1761 | 1934 | 1981
Consumers ('000) | 64.3 | 74.8 | 81.2 | 89.1
Sales of energy (million Nu.) | 620.9 | 766.7 | 989.8 | 1202.7
Per capita energy consumption (Units) | 1147.5 | 1380.2 | 1773 | 2038.8
Note:
The per capita Energy consumption has increased from 2002/03 partly because of change in format which started including generation of CHPC, BHPC and KHPC. Per capita energy consumption for 2007/08 is based on population of 6,71,083
Source:Department of Energy, MoEA, Thimphu
TABLE 8.5
MONTHLY REVENUE FROM SALE OF ENERGY FROM CHHUKHA HYDROPOWER,
2006 TO 2009
Month | 2006 | 2006 |  | 2007 |  |  | 2008 |  |  | 2009
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 53.82 | 17.33 | 71.15 | 113.29 | 6.49 | 119.78 | 97.179 | 7.3794 | 104.56 | 112.47 | 7.17 | 119.64
February | 31.87 | 15.17 | 47.03 | 99.15 | 5.74 | 104.89 | 71.5042 | 6.7148 | 78.22 | 79.89 | 6.05 | 85.94
March | 26.09 | 16.57 | 42.66 | 142.07 | 6.29 | 148.36 | 87.5482 | 6.1383 | 93.69 | 83.01 | 7.02 | 90.04
April | 97.63 | 14.56 | 112.19 | 206.94 | 4.31 | 211.25 | 156.1002 | 5.0513 | 161.15 | 151.47 | 6.31 | 157.77
May | 249.11 | 15.16 | 264.27 | 257.95 | 3.82 | 261.77 | 201.7179 | 5.1983 | 206.92 | 224.78 | 5.8 | 230.58
June | 430.02 | 14.63 | 444.65 | 368.99 | 3.74 | 372.73 | 515.6795 | 5.2827 | 520.96 | 392.15 | 5.72 | 397.87
July | 513.48 | 15.99 | 529.47 | 542.25 | 3.99 | 546.24 | 580.6728 | 5.3201 | 585.99 | 575.94 | 6.31 | 582.25
August | 585.61 | 3.29 | 588.9 | 590.46 | 3.89 | 594.35 | 590.5711 | 4.3013 | 594.87 | 576.81 | 6.57 | 583.38
September | 578.57 | 3.75 | 582.33 | 576.65 | 3.85 | 580.5 | 554.5745 | 5.6607 | 560.24 | 546.64 | 6.82 | 553.45
October | 479.56 | 4.65 | 484.2 | 469.03 | 4.4 | 473.43 | 460.8165 | 6.2743 | 467.09 | 504.96 | 6.96 | 511.92
November | 250.94 | 6.11 | 257.05 | 234.06 | 5.55 | 239.61 | 248.2165 | 6.8886 | 255.11 | 261.07 | 8.06 | 269.13
December | 165.99 | 6.22 | 172.2 | 148.3 | 6.65 | 154.95 | 159.8865 | 7.1786 | 167.07 | 157.43 | 9.19 | 166.63
Total | 3462.67 | 133.42 | 3596.09 | 3749.14 | 58.72 | 3807.86 | 3724.4669 | 71.39 | 3795.86 | 3666.62 | 81.98 | 3748.6
Source:Department of Energy, MoEA, Thimphu

## Tab8.6
TABLE 8.6
CONSUMPTION OF ELECTRICITY BY TYPE OF CONSUMER, 2004/05 TO 2008/09
Type of consumer | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09
Total consumption (MU) | 618.545 | 612.591 | 764.074 | 989.797 | 1202.71
Domestic | 90.584 | 97.511 | 114.082 | 127.758 | 137.1
Commercial & Government Offices | 52.51 | 52.889 | 65.952 | 70.093 | 80.54
Industries | 415.078 | 404.151 | 497.073 | 680.421 | 869.58
Bulk supply | 59.319 | 56.795 | 84.709 | 109.485 | 112
Public lighting | 1.054 | 1.245 | 2.258 | 2.04 | 3.48
Consumption in percentage | 100 | 100 | 100.001 | 100 | 100
Domestic | 14.645 | 15.918 | 14.931 | 12.9075 | 11.4
Commercial & Government Offices | 8.489 | 8.634 | 8.632 | 7.0816 | 6.7
Industries | 67.106 | 65.974 | 65.056 | 68.7435 | 72.3
Bulk supply | 9.59 | 9.271 | 11.086 | 11.0614 | 9.31
Public lighting | 0.17 | 0.203 | 0.296 | 0.2061 | 0.29
Source:Department of Energy, MoEA, Thimphu